SECTION 09 27 13
CASTWORKS Wall Panels Glass Fiber Reinforced Gypsum (GRG/GFRG) 
Architectural Forms
Part 1 – GENERAL

1.1
RELATED DOCUMENTS

This specification is a general outline the CastWorks Walls Glass Fiber Reinforced Gypsum (GRG/GFRG) requirements, as they pertain to the overall project design. In all cases, the Manufacturer’s printed specifications shall govern the work of this section.
1.2
SUMMARY
A.  Section Includes: 

1. Furnish all materials, labor, equipment, and services necessary for the supply and installation of CastWorks GRG components as indicated on the drawings and contract documents, all in compliance with local codes and/or ordinances.

2. Work shall include supply of GRG components, installation, and finishing guidance.
B.  Related Sections: 
1. Section 05 10 00 Structural Metal Framing
2. Section 05 40 00 Cold-Formed Metal Framing

3. Section 06 10 00 Rough Carpentry

4. Section 09 29 00 Gypsum Board

5. Section 09 90 00 Painting and Coating
C.  Substitutions:
1. Manufacturers desiring to submit proposals other than CastWorks GRG architectural forms shall, at least 10 days prior to the bid date, submit to the Architect all descriptive information of the system. These Manufacturers must have a minimum of three years’ experience with the system, provide photographs, and shop drawings of at least three projects similar in detail and scope with names, addresses and phone contacts of the respective Architects and Installation Contractors. Independent test data showing compliance with the specified system and three samples of similar details must also be submitted.
1.3
References
A.  American Society for Testing and Materials (ASTM):
1. ASTM C1355/C1355M Standard Specification for Glass Fiber Reinforced Gypsum Composites

2. ASTM C1381 Standard Specification for Molded Glass Fiber Reinforced Gypsum Parts

3. ASTM D638 Standard Test Method for Tensile Properties of Plastics

4. ASTM E84 Standard Test Method for Surface Burning Characteristics of Building Materials

5. ASTM C947 Standard Test Method for Flexural Properties of Thin-Section Glass-Fiber-Reinforced Concrete (Using Simple Beam with Third-Point Loading)

6. ASTM D256 Standard Test Methods for Determining the Izod Pendulum Impact Resistance of Plastics

7. ASTM D696 Standard Test Method for Coefficient of Linear Thermal Expansion of Plastics Between −30°C and 30°C with a Vitreous Silica Dilatometer

8. ASTM E136 Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750°C

9. ASTM C472 Standard Test Methods for Physical Testing of Gypsum, Gypsum Plasters and Gypsum Concrete

10. ASTM C473 Standard Test Methods for Physical Testing of Gypsum Panel Products

11. ASTM D2583 Standard Test Method for Indentation Hardness of Rigid Plastics by Means of a Barcol Impressor

12. ASTM C840 Standard Specification for Application and Finishing of Gypsum Board

1.4
SUBMITTALS
A.  Submit shop drawings for approval showing plans, sections, details, joint treatment, reinforcing, fastening devices and the relation of the CastWorks Walls GRG components to the surrounding construction.
B.  Product Data: Submit manufacturer’s technical data.
1.5
RESPONSIBILITY
A.  The Contractor shall install and tape the work under this section and he will be responsible for coordinating the installation with drywall work and other trades.
1.6
MOCK-UP
A.  Install series of panels for review by Architect prior to proceeding with the remainder of the installation. 
1.7
DELIVERY, STORAGE, HANDLING AND PROTECTION
A.  Transport and handle units in a manner that avoids excessive stresses or damage.

B.  Components displaying obvious damage must be rejected at site at time of delivery.

C.  Store the components in a controlled environment, weather protected, on level surfaces, with temporary supports as required. Do not stack or lean.

1.8
Warranty


One year from substantial completion.

PART 2. – PRODUCTS
Attention Design Professional: Please edit Part 2 based on your project needs. Select product attributes and acceptable product item (s) that fit with the requirements of your project. Delete all items from the specification that do not relate to your project needs. Please refer to the Armstrong website for additional ceilings, suspension systems, perimeter trim options, and accessories. The related guide specifications for each of these items are available on the Armstrong website.

2.1
MANUFACTURER
A.  Basis of Design Product: CastWorks Walls by Armstrong World Industries, Inc.
2.2 WALL UNITS

A.   CastWorks Wall Panels

B.   Surface Texture: Smooth texture

C.   Composition: Glass Fiber Reinforced Gypsum (GRG/GFRG)

D.   Finish: Unfinished paint grade GRG ready for field finishing

E.   Size: (32 in x 48), (32in x 32 in) (16in x 51 ½ in) (16 in x 58 ½ in) (other) based on design – refer to Armstrong shop drawings

F. Design: (Arrows BPAS1006D01) (Channels BPAS1006D02) (Chevrons BPAS1006D03) (Contours BPAS1006D04) (Flutes BPAS1006D05) (Grooves BPAS1006D06) (Custom – refer to drawings)
G. Edge Profile: Edge profile will be determined based on selected pattern – see manufacturer shop drawings for panel edge conditions (Tape Seam, Skill Seam, Simple Seam, Quirk Seam)
H. Flame Spread: ASTM E84; Class A

I. Life Cycle Assessment: Third Party Certified Environmental Product Declaration (EPD)

J. Basis of Design: CastWorks Walls (insert design/item number) as manufactured by Armstrong World Industries, Inc.

2.3
MATERIALS

A.  CastWorks GRG components shall be prefabricated with high-density gypsum, free of resin and asbestos, reinforced with chopped strand fiber or continuous filament mat.
B.  CastWorks GRG components shall be reinforced as needed.
C.  Fabrication will be as per approved shop drawings and will not include assembly. If multiple components are required to complete design criteria as per contract drawings, additional site work under related section, installation or finishing may be required.

D.  CastWorks GRG components shall be ready to receive primer and paint as specified under paint section.
2.4

TOLERANCES (FABRICATION)

A.  Dimensional - all directions
+/- 1/8"

B.  Thickness - skin +/- 1/16"

C.  Warpage or Bowing +/- 1/8"/foot

D.  Site conditions and normal manufacturing variations may require additional site work to maintain these tolerances.
2.5
PHYSICAL PROPERTIES

A.  Shell Thickness 3/16" +/- based on design
B.  Weight (depending on reinforcing) 3-6 lbs/sq.ft and may vary based on design
C.  Density 103 - 112 lbs/cu.ft

D.  Flexural Strength (ASTM C-947) Not less than 2500 psi.
E.  Modulus of Elasticity - In flexure (ASTM C-947-89 MOD.) 3.38 x 106 psi.

F.  Tensile Strength (ASTM D-638-94 b MOD.) 1,810 psi.

G.  Impact Strength (ASTM D-256 notched) 3.26 ft.lb/ in. of notch
H.  Impact Strength (ASTM D-256 unnotched) 8.0 ft.lb/ in2.
I. Hardness – Barcol (ASTM D-2583-93) <50
J. Fiber Content 4 - 6% by weight
K.  Humidified Deflection (ASTM C-473-95) 1/32" to 1/8" deflection
L. Coefficient of Expansion (ASTM D-696-91) 0.98 x 10-5 in./in./ ˚F
M. Fuel Contribution (ASTM E-136-98a) Pass
N. Flame Spread (ASTM E-84-94) 0, Class A

O.  Smoke Index (ASTM E-84-94) 0, Class A

P.  Fastener Withdrawal – Not less than 110 lbs
2.6   INSPECTION

A.  The Architect or representative shall have access to the manufacturing facilities, either prior to contract award or thereafter, to inspect or verify compliance with the above specifications.

3.0
EXECUTION

3.1
PRE-INSTALLATION RESPONSIBILITY

A.  Field Measurements: Prior to manufacturing, the Installer will be responsible for obtaining all field dimensions for inclusion on the Manufacturer’s shop drawings.

B.  Coordination: The Installer will be responsible for the coordination of the installation with related sections, within the tolerances specified in the respective articles.

C.  Discrepancies: Prior to installation, the Installer shall check job site dimensions and conditions. Any discrepancies between design and field dimensions shall be brought to the attention of the General Contractor and the Architect.
3.2
INSTALLATION

A.  Components shall be lifted/handled with suitable devices.

B.  Components shall be installed plum and true. Shim where necessary.

C.  Fasten components with self-drilling, self-tapping drywall or wood screws through face as indicated on shop drawings.
D.  Framing and support as specified.
E.  Joints are to be adhered together using high grade polyurethane construction adhesive.
3.3
FINISHING
A.  Introduce control joints (+/- 35'-0" O.C) as required under Section 09 25 00 of the Specifications and as outlined in U.S.G. or C.G.C. Gypsum Construction Handbook.
B.  For joint finishing refer to joint finishing details (Tape Seam, Skill Seam, Simple Seam, Quirk Seam) – refer to product data and shop drawings.
C.  Level 5 finishes may be required under certain site and lighting conditions.

D.  Refer to Painting Section of the Specifications.
3.4
NOTES

A.  CastWorks GRG components shall be used for Interior Applications only.

B.  GRG Wall Panels may exhibit slight imperfections and warping. To obtain satisfactory results with joints and high sheens, additional filling, sanding, level 5 priming and painting may be required.
C.  GRG components subject to critical lighting may require a level 5 finish by others.

D.  Improper sealing can cause tape joint read-through after painting. This is due to the difference in porosity between joint compounds and GRG therefore, ensure that the Painting Contractor seals all surfaces properly prior to finishing.
