# SECTION 09 51 13

# AXIOM® DESIGN TROUGHS

PART 1 – GENERAL

1.1 RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

1.2 SUMMARY

A. Section Includes:

1. Pre-engineered extruded aluminum design trough system for functional ceiling channels accommodating lighting and MEP.

B. Related Sections:

1. Section 09 51 00 (09510) – Acoustical Ceilings

2. Section 09 20 00 (09250) – Plaster and Gypsum Board

3. Divisions 23 (15) – HVAC

4. Division 26 (16) Sections - Electrical Work/Lighting

C. Alternates

1. Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids. Acceptability of a proposed substitution is contingent upon the Architect's review of the proposal for acceptability and approved products will be set forth by the Addenda. If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

2. Submittals that do not provide adequate data for the product evaluation will not be considered. The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source materials suppliers (if specified in Section 1.5); trough design, size, composition, color, and finish; suspension system component profiles and sizes; compliance with the referenced standards.

1.3 REFERENCES

A. American Society for Testing and Materials (ASTM):

1. ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

2. ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

3. ASTM E 580 Installation of Metal Suspension Systems in Areas Requiring Moderate Seismic Restraint

4. ASCE 7 American Society of Civil Engineers, Minimum Design Loads for Buildings and Other Structures

5. International Code Council-Evaluation Services - AC 156 Acceptance Criteria for Seismic Qualification Testing of Non-structural Components

6. LEED - Leadership in Energy and Environmental Design is a set of rating systems for the	design, construction, operation, and maintenance of green buildings

B. American National Standards Institute (ANSI)

1. ANSI H35.1 Properties and Characteristics of Wrought Aluminum Alloys

1.4 SYSTEM DESCRIPTION

Build Type / Finished Form as selected by customer

1.5 SUBMITTALS

A. Product Data: Submit manufacturer's technical data for design trough components and each type of suspension system required.

B. Samples: Minimum 3-inch-wide samples of specified component.

C. Shop Drawings: Layout and details of design trough ceilings. Show locations of items that are to be coordinated with, or installed, but independently supported, in the ceilings, including lighting, HVAC, and MEP elements within trough channels.

1.6 SUSTAINABLE MATERIALS

A. Transparency: Manufacturers will be given preference when they provide documentation to support sustainable requirements for the following: Material ingredient transparency, Removal of Red List Ingredients per LBCV3, Life Cycle impact information, Low-Emitting Materials, and Clean Air performance.

1. Health Product Declaration (HPD). The end use product has a published, complete Health Product Declaration with disclosure at a minimum of 1000ppm of known hazards in compliance with the Health Product Declaration Open Standard.

2. Declare Label. The end use product has a published Declare label by the International Living Future Institute with disclosure of 100 ppm with a designation of Red List Free or Compliant (less than 1% proprietary ingredients).

3. Low Emitting products with VOC emissions data. Preference will be given to manufacturers that can provide emissions data showing their products meet any of the following: CDPH/EHLB/Standard Method v1.2-2017; Indoor Air Quality Certified to SCS-105 v4.2-2023 [Gold VOC Certificate OR Clearchem]

4. Life cycle analysis. Products that have communicated lifecycle data through Environmental Product Declarations (EPDs) will be preferred.

5. End of Life Programs/Recycling: Where applicable, manufacturers that provide the option for recycling of their products into new products at end-of-life through take-back programs will be preferred.

6. Products meeting LEED V5 requirements including:

a. Storage & Collection of Recyclables

b. Construction and Demolition Waste Management Planning

c. Building Life-Cycle Impact Reduction

d. Building Product Disclosure and Optimization Environmental Product Declarations

e. Building Product Disclosure and Optimization Sourcing of Raw Materials

f. Building Product Disclosure and Optimization Material Ingredients

g. Construction and Demolition Waste Management

1.7 QUALITY ASSURANCE

A. Single-Source Responsibility: Provide design trough components and grid components by a single manufacturer.

B. Coordination of Work: Coordinate design trough work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

1.8 DELIVERY, STORAGE, AND HANDLING

A. Deliver design trough components to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.

B. Before installing components permit them to reach room temperature and a stabilized moisture content.

C. Handle components carefully to avoid damage to factory-applied powder coated finish.

1.9 PROJECT CONDITIONS

A. Space Enclosure: Building areas to receive design troughs shall be free of construction dust and debris. Products can be installed up to 120°F (49°C) and in spaces before the building is enclosed, where HVAC systems are cycled or not operating. Cannot be used in exterior applications where standing water is present or where moisture will come in direct contact with the ceiling.

1.9 WARRANTY

A. Design Trough System: Submit a written warranty executed by the manufacturer, agreeing to repair or replace components that fail within the warranty period. Failures include, but are not limited to:

1. Rusting and manufacturer's defects

B. Warranty Period:

1. Design Trough Components: Ten (10) years from date of substantial completion.

2. Armstrong commercial design trough components, suspension systems and ceiling products have a thirty (30) year warranty when installed together and used under normal conditions.

C. The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

PART 2 – PRODUCTS

Attention Design Professional: Please edit Part 2 based on your project needs. Select product attributes and acceptable product item (s) that fit with the requirements of your project. Delete all items from the specification that do not relate to your project needs. Please refer to the Armstrong website for additional ceilings, suspension systems, perimeter trim options, and accessories. The related guide specifications for each of these items are available on the Armstrong website.

2.1 MANUFACTURERS

A. Axiom Design Troughs:

1. Armstrong World Industries, Inc.

2.2 DESIGN TROUGH SYSTEM

A. Product/Manufacturer: Axiom Design Troughs; Armstrong World Industries, Inc.

1. Material Ingredient Transparency: Health Product Declaration (HPD); Declare Label

2. Life Cycle Assessment: Third Party Certified Environmental Product Declaration (EPD)

3. Indoor Air Quality Certified to SCS-105 v4.2-2023

B. System: Standardized extruded aluminum design troughs that simplify ceiling channel design while delivering a clean, integrated aesthetic that elevates the overall ceiling design. Commercial quality extruded aluminum alloy 6063, factory finished in baked powder coated paint. Available in White (WH) and Black (BL). Integrated bosses support discreet clip and splice plate connections for a refined, uninterrupted appearance. Designed to coordinate with Armstrong ceiling and suspension systems with a flush fit cross tee/main beam interface.

C. Components:

1. Axiom 2" × 4" Design Troughs: Extruded aluminum trough form with integrated bosses to accept T-bar connection clip and splice plate; factory finished in powder coated paint to match approved samples; designed to be cut in the field for layout flexibility.

a. AXT24STR – 2" × 4" Design Trough – White (120 × 4 × 2 inches)

b. AXT24STRBL – 2" × 4" Design Trough – Black (120 × 4 × 2 inches)

c. AXT24C90 – 2" × 4" 90° Corner – White (12 × 4 × 2 inches)

d. AXT24C90BL – 2" × 4" 90° Corner – Black (12 × 4 × 2 inches)

e. AXT243INT – 2" × 4" 3-way Intersection – White (12 × 4 × 2 inches)

f. AXT243INTBL – 2" × 4" 3-way Intersection – Black (12 × 4 × 2 inches)

g. AXT244INT – 2" × 4" 4-way Intersection – White (12 × 4 × 2 inches)

h. AXT244INTBL – 2" × 4" 4-way Intersection – Black (12 × 4 × 2 inches)

2. Axiom 2" × 6" Design Troughs: Extruded aluminum trough form with integrated bosses to accept T-bar connection clip and splice plate; factory finished in powder coated paint to match approved samples; designed to be cut in the field for layout flexibility.

a. AXT26STR – 2" × 6" Design Trough – White (120 × 6 × 2 inches)

b. AXT26STRBL – 2" × 6" Design Trough – Black (120 × 6 × 2 inches)

c. AXT26C90 – 2" × 6" 90° Corner – White (12 × 6 × 2 inches)

d. AXT26C90BL – 2" × 6" 90° Corner – Black (12 × 6 × 2 inches)

e. AXT263INT – 2" × 6" 3-way Intersection – White (12 × 6 × 2 inches)

f. AXT263INTBL – 2" × 6" 3-way Intersection – Black (12 × 6 × 2 inches)

g. AXT264INT – 2" × 6" 4-way Intersection – White (12 × 6 × 2 inches)

h. AXT264INTBL – 2" × 6" 4-way Intersection – Black (12 × 6 × 2 inches)

3. Axiom Design Trough Face Plates: Pre-engineered face plates to accommodate field conditions and create finished appearance. Aluminum face plates form with integrated bosses to accept T-bar connection clip and splice plate.

a. AXFFP4 – Axiom Field Face Plate, 4 inch (120 × 4 inches)

b. AXFFP6 – Axiom Field Face Plate, 6 inch (120 × 6 inches)

4. Custom Options: Custom heights and width options are available. Height: 2 inches to 16 inches (Axiom Classic); Width: 3 inches to 12 inches. Dimensions must fall within listed capabilities. For custom requests, contact Axiom Quote at AxiomQuote@armstrong.com.

5. Accessories:

a. AX4SPLICEB – Splice Plate with Set Screws: used to join straight sections and corners of design troughs.

b. AXTBC – Axiom T-Bar Connector Clip: used to attach design trough to suspension system members.

c. AX-V-TBC – Axiom T-Bar Clip for Vector® Panel: for use with Vector panel installations. (Must be ordered separately.)

d. 7239 – Adjustable Trim Clip: for use with specialty ceilings with grid offset greater than 3/8 inch. Contact TechLine for details. (Must be ordered separately.)

e. AX2HGC – Axiom Hanging Clip: used for suspension and support of design trough components.

PART 3 – EXECUTION

3.1 EXAMINATION

A. Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer's printed recommendations.

3.2 PREPARATION

A. Coordinate trough layout with mechanical and electrical fixtures, including lighting, HVAC, and MEP elements to be integrated within trough channels.

3.3 INSTALLATION

A. Install design trough system and components in accordance with manufacturer's instructions and in compliance with ASTM C 636 and with the authorities having jurisdiction.

B. Design troughs are designed to be cut in the field for layout flexibility. Verify field dimensions prior to cutting.

C. Utilize standard 90° corners, 3-way and 4-way intersections to achieve design layout shown on architectural drawings.

D. Secure splice connections using splice plates with set screws at all trough joints.

3.4 ADJUSTING AND CLEANING

A. Clean exposed surfaces of design troughs and suspension members. Comply with manufacturer's instructions for cleaning and touch up of minor finish damage. Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

B. Cleaning and CDC-approved disinfecting options available on armstrong.com/cleaning.

END OF SECTION