SECTION 09 50 00
Acoustical Ceilings

Lyra Plant Based (PB) Direct-Apply

# Part 1 - General

## 1.1 RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

## 1.2 SUMMARY

A. Section Includes

1. Acoustical ceiling panels

2. Fasteners

B. Related Sections

1. Section 09 51 53 – Direct-Applied Acoustical Ceilings

2. Section 01 81 13 - Sustainable Design Requirements

3. Section 01 81 19 - Indoor Air Quality Requirements

4. Section 02 42 00 - Removal and Salvage of Construction Materials

5. Divisions 23 - HVAC Air Distribution

6. Division 26 - Electrical

C. Alternates

1.   Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids.  Acceptability of a proposed substitution is contingent upon the Architect's review of the proposal for acceptability and approved products will be set forth by the Addenda.  If included in a Bid are substitute products that have not been approved by Addenda, the specified products shall be provided without additional compensation.

2. Submittals that do not provide adequate data for the product evaluation will not be considered.  The proposed substitution must meet all requirements of this  section, including but not necessarily limited to, the following: Single source  materials suppliers (if specified in Section 1.5); Underwriters' Laboratories  Classified Acoustical performance; Panel design, size, composition, color, and finish; Suspension system component profiles and sizes; Compliance with the referenced standards.

## 1.3 REFERENCES

American Society for Testing and Materials (ASTM):

- ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

- ASTM D 3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

- ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials

- ASTM E 1111 Standard Test Method for Measuring the Interzone Attenuation of Ceilings Systems

- ASTM E 1414 Standard Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum

- ASTM E 1264 Classification for Acoustical Ceiling Products

International Building Code

ASHRAE Standard 62.1-2004, Ventilation for Acceptable Indoor Air Quality

NFPA 70 National Electrical Code

ASCE 7 American Society of Civil Engineers, Minimum Design Loads for Buildings and Other Structures

California Department of Public Health CDPH/EHLB Emission Standard Method Version 1.2 2017

LEED - Leadership in Energy and Environmental Design is a set of rating systems for the design, construction, operation, and maintenance of green buildings

International Well Building Standard

Mindful Materials

Living Building Challenge

U.S. Department of Agriculture BioPreferred program (USDA BioPreffered).

## 1.4 SYSTEM DESCRIPTION

Exposed Structure

## 1.5 SUBMITTALS

A. Product Data: Submit manufacturer's technical data for each type of acoustical ceiling unit and suspension system required.

B. Samples: Minimum 6 inch x 6 inch samples of specified acoustical panel.

C. Shop Drawings: Layout and details of acoustical ceilings show locations of items that are to be coordinated with, or supported by the ceilings.

D. Acoustical Certifications: Manufacturer's certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards.  For acoustical performance, each carton of material must carry an approved independent laboratory classification of NRC, CAC, and AC.

a. If the material supplied by the acoustical subcontractor does not have an Underwriter's Laboratory classification of acoustical performance on every carton, subcontractor shall be required to send material from every production run appearing on the job to an independent or NVLAP approved laboratory for testing, at the architect's or owner's discretion.  All products not conforming to manufacturer's current published values must be removed, disposed of and replaced with complying product at the expense of the Contractor performing the work.

## 1.6 SUSTAINABLE MATERIALS

Transparency: Manufacturers will be given preference when they provide documentation to support sustainable requirements for the following:  Material ingredient transparency, Removal of Red List Ingredients per LBCV3, Life Cycle impact information, Low-Emitting Materials, and Clean Air performance.

1. Health Product Declaration. The end use product has a published, complete Health Product Declaration with disclosure at a minimum of 1000ppm of known hazards in compliance with the Health Product Declaration open Standard.

2.  Declare Label.  The end use product has a published Declare label by the International Living Future Institute with disclosure of 100 ppm with a designation of Red List Free or Compliant (less than 1% proprietary ingredients).

3.  Low Emitting products with VOC emissions data. Preference will also be given to manufacturers that can provide emissions data showing their products meet CDHP Standard Method v1.1 (Section 01350).

4.  Life cycle analysis. Products that have communicated lifecycle data through Environmental Product Declarations (EPDs) will be preferred.

5.  End of Life Programs/Recycling: Where applicable, manufacturers that provide the option for recycling of their products into new products at end-of-life through take-back programs will be preferred.

6. Products meeting LEED V4 requirements including:

Storage & Collection of Recyclables

Construction and Demolition Waste Management Planning

Building Life-Cycle Impact Reduction

Building Product Disclosure and Optimization Environmental Product Declarations

Building Product Disclosure and Optimization Sourcing of Raw Materials

Building Product Disclosure and Optimization Material Ingredients

Construction and Demolition Waste Management

## 1.7 QUALITY ASSURANCE

A. Single-Source Responsibility: Provide acoustical panel units and grid components by a single manufacturer.

1. Fire Performance Characteristics: Identify acoustical ceiling components with appropriate markings of applicable testing and inspecting organization.

2. Surface Burning Characteristics:  As follows, tested per ASTM E 84 and complying with ASTM E 1264 Classification.

B. Acoustical Panels: As with other architectural features located at the ceiling, may obstruct or skew the planned fire sprinkler water distribution pattern through possibly delay or accelerate the activation of the sprinkler or fire detection systems by channeling heat from a fire either toward or away from the device. Designers and installers are advised to consult a fire protection engineer, NFPA 13, or their local codes for guidance where automatic fire detection and suppression systems are present.

C. Coordination of Work: Coordinate acoustical ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

## 1.8 DELIVERY, STORAGE AND HANDLING

A. Deliver acoustical ceiling units to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.

B. Before installing acoustical ceiling units, permit them to reach room temperature and a stabilized moisture content.

C. Handle acoustical ceiling units carefully to avoid chipping edges or damaged units in any way.

## 1.9 PROJECT CONDITIONS

A. Site Conditions: Ensure site condition relative humidity is less than 70%. Building areas to receive ceilings shall be free of construction dust and debris. The area of installation, adhesive, and panels should be conditioned at 65°F or above for 48 hours prior, during, and 48 hours after the installation is complete.

B.: Lyra PB panels attached to the deck with adhesives must be installed where the building is enclosed and the HVAC system is functioning and in continuous  operations for the life of the product. All wet work (plastering, concrete, etc.) must be complete and dry. These products are not recommended for exterior applications where standing water is present, or where moisture will come into direct contact with the ceiling.

## 1.10 ALTERNATE CONSTRUCTION WASTE DISPOSAL

A. Ceiling material being reclaimed must be kept dry and free from debris.

B. Contact the Armstrong Recycle Center a consultant will verify the condition of the material and that it meets the Armstrong requirements for recycling. The Armstrong consultant with provide assistance to facilitate the recycling of the ceiling.

C. Recycling may qualify for LEED Credits:

a. LEED 2009 - Category 4: Material and Resources (MR)

i. Credit MRc2: Construction Waste Management

b. LEEDv4 - MRp2 - Construction Waste Management Planning Qualifies as a material stream (non-structural) targeted for diversion.  Ceilings will be source-separated and diverted through the Armstrong Ceiling Recycling Program.

c. LEEDv4-MRc5 -

i. Option 1: Divert ceilings to qualify for one of the 3 material streams (50%)

ii. Option 2: Divert ceilings to qualify for one of the 4 material streams (75%)

## 1.11 WARRANTY

A. Acoustical Panel: Submit a written warranty executed by the manufacturer, agreeing to repair or replace panels that fail within the warranty period.  Failures include, but are not limited to the following:

1. Acoustical Panels:  Sagging and warping

B. Warranty Period:

1. Acoustical panels: Ten (10) years from date of substantial completion

C. the Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

## 1.12 MAINTENANCE

A. Extra Materials: Deliver extra materials to Owner.  Furnish extra materials described below that match products installed.  Packaged with protective covering for storage and identified with appropriate labels.

1. Acoustical Ceiling Units:  Furnish quality of full-size units equal to 5.0 percent of amount installed.

# PART 2 - PRODUCTS

## 2.1 MANUFACTURERS

A. Ceiling:

1. Armstrong World Industries, Inc. Lyra PB Direct-Apply Panel

## 2.2.1 ACOUSTICAL CEILING UNITS

- Surface Texture:  Smooth

- Composition:  Fiberglass Plant Based

- Color: White(WH),  Black (BK), Concrete (CE1)

- Size(inches):  24 x 24  x 1 item 8400PB(_ _), 24 x 48 x 1 item 8401PB(_ _),

24 x 60 x 1 item 8402PB(_ _),  24 x 72 x 1 item 8403PB(_ _),

48 x 48 x 1 item 8404PB(_ _), see data page for custom sizes

- Edge Profile:  Square Edge, Painted Edge

- Noise Reduction Coefficient( NRC):  0.95 installed with D40 mounting (corrugated decking),

0.80 installed with A mounting (direct to hard surface)

- Articulation Class (AC):  ASTM E 1111; Classified with UL label on product carton 190

- Flame Spread:  ASTM E 1264; Class A (UL)

- Light Reflectance (LR) White Panel:  ASTM E 1477; 0.88

- Dimensional Stability:  HumiGuard Plus

- Recycle Content: Up to 71% recycled content. (Pre-consumer, post-consumer and post industrial)

- Material Ingredient Transparency: Health Product Declaration (HPD); Declare Label

- Life Cycle Assessment: Third Party Certified Environment Product Declaration (EPD)

- Acceptable Product: Armstrong LYRA Plant Based (PB) Direct-Apply as manufactured by Armstrong World Industries

B. Accessories

1. Recommended Adhesive (by other) –Titebond ® GREENchoice Acoustical Ceiling Tile Adhesive

# PART 3 - EXECUTION

## 3.1 EXAMINATION

A. Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer's printed recommendations.  (Exception: HumiGuard Max Ceilings)

## 3.2 PREPARATION

A. Area Preparation: Surfaces must be dry and free of dust, grease, oil, dirt or any other material that may deter adhesion. If the paint is flaking or peeling it must be removed. Existing finish paint must be well-bonded and not flaking or peeling.

B. Painted Surfaces: Avoid applying to a newly painted ceiling. Glossy painted surfaces must be abraded. For painted or sealed surfaces, install a small test area and observe after 12 hours. For plaster ceilings, plaster must be painted, non-chipping, and smooth.

C. Surface Flatness: To ensure a finished installation that is level, it is recommended  that the ceiling surface for attachment be free of irregularities  and be level within 1/4" in 12'

D. Panel Layout: Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling.  Avoid use of less than half width units at borders, and comply with reflected ceiling plans.  Coordinate panel layout with mechanical and electrical fixtures.

E. Coordination: Furnish concrete inserts and similar devices to other trades for installation well in advance of time needed for coordination of other work.

## 3.3 INSTALLATION

A. Follow manufacturer installation instructions.

B. Replace damaged and broken panels.

C. Clean exposed surfaces of acoustical ceilings.  Comply with manufacturer's instructions for    cleaning and touch up of minor finish damage.  Remove any ceiling products that cannot be successfully cleaned and or repaired. Replace with attic stock or new product to eliminate evidence of damage.

END