ASTM E 1264-98

Revised 11/22/10

Basis of Classification

Ceiling Types:

Type I		Cellulose base with painted finish

Type II		Cellulose base with membrane-faced overlay

# Type III	Mineral base with painted finish

Form 1	, Nodular

Cirrus, Cirrus – Borders, Motifs, Open Plan, Profiles, Second Look, Themes, Endura, Fine Fissured #592, Fine Fissured Open Plan, Natural Fissured, Sanserra, Sticks, Stones, Stratus, Traces, Terrain, Latitudes

Form 2, Water felted

Armatuff, Cortega, Cortega Second Look, Designer, Dune, Dune Second Look, Fine Fissured, Fine Fissured #746,#741, Fine Fissured School Zone, Fine Fissured Second Look, Fissured, Flumes, Georgian, Graphis Finetex, Graphis Rustex, Ledges, Mesa, TinCraft, Tundra

Form 3	, Dry felted

Form 4, Cast or molded

Type IV	Mineral base with membrane-faced overlay

Form 1, Nodular

Form 2, Water felted

Clean Room Mylar, Clean Room VL, Ultima, Ultima Open Plan, Ultima Plank, Ultima Vector, Health Zone Ultima, Ultima Themes, VL perforated

Form 3, Dry felted

Form 4, Cast or molded

Type V		Perforated steel facing (pan) with mineral or glass fiber base backing

Type VI	Perforated stainless steel facing with mineral of glass fiber base backing

Type VII	Perforated aluminum facing (pan) with mineral or glass fiber base backing

Type VIII	Cellulose base with scrubbable pigmented or clear finish

Type IX	Mineral base with scrubbable pigmented or clear finish

Form 1, Nodular

Form 2, Water felted

Cortega #761, Fine Fissured #1749, Georgian #793, #794, #828

Form 3, Dry felted

Form 4, Cast or molded

Type X		Mineral base with plastic or aluminum membrane-faced overlay, or both

Type XI	Mineral base with fabric-faced overlay

Form 1, Nodular

Form 2, Water felted

Filaments

Form 3, Dry felted

Form 4, Cast or molded

Type XII	Glass fiber base with membrane-faced overlay

Form 1, Plastic

Random Fissured, Pebble, Shasta

Form 2, Cloth

Optima Capz, Spectra Capz, Optima Open Plan, Optima Open Plan Large & Custom, Optima Plank, Optima Vector, Optima Vector Plank, Health Zone Optima, Painted Nubby Open Plan, Soundscapes Shapes

Form 3, Other

Type XIII	Aluminum or steel strip with mineral or fiber glass fiber base backing

Form 1, Perforated

Form 2, Non-perforated

Type XIV	Excelsior bonded with inorganic binders

Form 1, No backing

Form 2	, Backed with mineral fiber or glass fiber base backing

Type XX	Other types (describe)

Ceramaguard (high density ceramic-like composition with scrubbable finish)

Fine Fissured Ceramaguard (high density ceramic-like composition with scrubbable finish)

Infusions (polycarbonate lay in panels)

Lineage Wood Looks MDF with paper overlay (use for wood look paper colors)

Lineage Wood Looks MDF with painted surface (used for white)

Tierra (dry felted Jute substrate with DuraBrite acoustical membrane)

MetalWorks Concealed Beveled (unperforated and perforated steel panel)

MetalWorks Linear (unperforated and perforated steel panel – black filler strip)

MetalWorks Plank (unperforated and perforated steel panel)

MetalWorks Tegular (unperforated and perforated steel panel)

MetalWorks Tin (unperforated and perforated steel/aluminum panel)

MetalWorks Vector (unperforated and perforated steel panel)

MetalWorks Vector Exterior (unperforated and perforated steel panel)

MetalWorks Wings (unperforated and perforated aluminum panels)

MetalWorks 3D (unperforated and perforated steel panels)

MetalWorks Canopies (unperforated and perforated steel panels)

Serpentina (unperforated and perforated aluminum panel)

WoodWorks Tegular (unperforated and perforated particle board with face cut veneers)

WoodWorks Vector (unperforated and perforated particle board with face cut veneers)

WoodWorks Linear (unperforated and perforated particle board with face cut veneers and black fleece)

Ceiling Patterns

Pattern Designation	Pattern Description

A			Perforated, regularly spaced large holes

B			Perforated, randomly spaced large holes

C			Perforated, small holes

C: MetalWorks Concealed Beveled (perforated), MetalWorks Linear (perforated), MetalWorks Plank (perforated),MetalWorks Tegular (perforated), MetalWorksVector (perforated), MetalWorks Vector Exterior (perforated), MetalWork Wings(perforated), MetalWorks 3D(perforated),MetalWorks Canopies(perforated),Serpentina (perforated)

CD: Cortega, Fissured, Natural Fissured

CDK: Cortega Second Look

CE:  Armatuff, Dune, Fine Fissured, Fine Fissured Ceramaguard, Fine Fissured Open Plan, Fine Fissured School Zone, Georgian, Mesa, Tundra, VL perforated

CEK: Fine Fissured Second Look, Dune Second Look

CJZ: Metalworks Tin (perforated)

# D			Fissured

E			Lightly textured

E:  Clean Room VL, Endura, Random Fissured(nonperf) and Shasta (nonperf), Pebble (nonperf), Painted Nubby Open Plan, Ultima, Ultima Open Plan, Ultima Plank, Ultima Vector, Health Zone Ultima, Ultima Themes, Optima Capz, Spectra Capz, Optima Open Plan, Optima Open Plan Large and Custom, Optima Plank, Optima Vector, Optima Vector Plank, Health Zone Optima, Soundscapes Shapes, Tierra

EC: Random Fissured (perforated), Shasta (perforated), Pebble

(perforated)

EI: Cirrus,Cirrus Profiles (unscored), Sanserra, Traces, Terrain,

Latitudes

EIC: Cirrus Open Plan

EIK: Cirrus Second Look, Cirrus Profiles (scored)

EIKZ: Cirrus Borders, Cirrus Themes (carved)

EJ: Cirrus Classic Motifs

# F			Heavily textured

F: Designer, Stratus

G			Smooth

G:  Ceramaguard (nonperf), Georgian (nonperf), MetalWorks Concealed Beveled (nonperf), MetalWorks Linear (nonperf), MetalWorks Plank (nonperf),MetalWorks Tegular (nonperf), MetalWorks Vector (nonperf), MetalWorks Vector Exterior (nonperf), MetalWorks Wings (nonperf), MetalWorks 3D (nonperf), MetalWorks Canopies(nonperf),Serpentina (nonperf), Lineage Wood Looks, Infusions  (lay in panels)

GH:  Clean Room Mylar

H			Printed

I			Embossed

Sticks, Stones

J			Embossed-in-register

JZ:  Flumes, Graphis Finetex, Graphis Rustex, Ledges, TinCraft

Metalworks Tin (unperf)

K			Surface scored

L			Random swirl

Z			Other patterns, describe

Z:  Filaments, WoodWorks Tegular (particle board with face cut

veneers), WoodWorks Vector (particle board with face cut veneers),

Woodworks Linear (particle board with face cut veneers and black

fleece)

Flame Spread Classification

Classification		Flame Spread	    Smoke Developed

Class A			0-25		     0-50

Class B			26-75

Class C			76-200

Class D			201-

* All Armstrong ceiling products have a Class A flame spread rating

ASTM Information

American Society for Testing Materials

100 Barr Harbor Drive

West Conshohocken, PA 19428-2959

Phone:  610 832 9500

Fax:  610 832 9666

Website:  www.astm.org

*All ASTM documents should be requested directly through ASTM